|  | Note 1: No Isolations of fire systems or Hot Work Permits will be issued for work between Monday and Friday 06:00 – 09:30hrs and 14:30 – 20:00hrs. Restrictions may also apply during special events. |
| --- | --- |
|  | Note 2: Refer to SMS-06-OP-3039 Hot Works for details of the circumstances when Hot Work Permits will be issued and the controls required. |

| Applicant |  |  |  |
| --- | --- | --- | --- |
| Name |  | Date | / /20 |
| Phone Number |  | Company |  |

| Date(s) and Time(s) Required |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | / /20 | Start Time |  | Finish Time |  |
|  | / /20 | Start Time |  | Finish Time |  |
|  | / /20 | Start Time |  | Finish Time |  |
|  | / /20 | Start Time |  | Finish Time |  |
|  | / /20 | Start Time |  | Finish Time |  |

| Location of Hot Work Permit and/or Fire System Isolation |  |
| --- | --- |
| Station or Facility Name |  |
| Exact Location (Platform, Concourse, Electrical Rooms etc.) |  |

Does the work involve Hot Works? (i.e. creating sparks or the use of an open flame)

 No

 Yes - YOU must have a firewatcher and provide appropriate fire extinguisher(s) on site (separate to those appliances provided as part of the sites local firefighting equipment) meeting Australian Standards 1851. As a minimum this will be a 9kg ABE Dry Chemical Powder (DCP) fire extinguisher or its equivalent, appropriate to the particular type of fire hazard. RERU will attend and inspect the site and issue a Hot Work Permit.

Description of Work (Creating dust, building works, grinding, welding, diesel train, etc.)

| Company Performing Work |  |  |  |
| --- | --- | --- | --- |
| Company Name |  | Phone Number |  |
| Site Contact Name |  | Signature |  |

|  | - ALL REQUESTS FOR ISOLATION AND/OR HOT WORK PERMITS MUST BE SUBMITTED TO EMERGENCY RESPONSE UNIT 24 HOURS PRIOR TO WORK COMMENCING. - Emergency Response Unit 452-468 Pitt St, Haymarket, 2000 - Ph:(02) 9379 1685 Fax: (02) 9379 1770 - Email: Hot.work.permit@transport.nsw.gov.au |
| --- | --- |

| Office Use Only |  |  |  |
| --- | --- | --- | --- |
| Hot Work Permit Number |  |  |  |
| Issued By |  | Date | / /20 |
| Received By |  | Date | / /20 |